## Slide 1: Flow charts
Keys to shapes:
Function
Data
Result
Object
Parameter

## Slide 2: temp_to_heat
read_temp_data
read_cities
calc_county_curves
Temperature data
calc_heat_curve
List of counties
Yearly DH loads
GIS data
Hourly heat demand for each region
Design heat loads for each network
Exclude waste heat

## Slide 3: power_scen_to_res
specify_scenario
read_power_data
calc_power_curves
calc_power_residual
Scenario data
Power data
Hourly power residual
Hydro min
Wind year
read_wind_data

## Slide 4: sim_p2h
sim_p2h
Hourly P2H potential
Hourly power residual
Hourly heat demand for each region
Design heat loads for each network
sim_ac
Accumulator
Ac size
Ac transfer

## Slide 5: Temperatures to heat
Regional hourly outdoor temperature data
Regional design temperatures
Yearly local district heating loads
County boundaries
Design heat loads for each network
Yearly regional district heating loads
Regional hourly heat demand
Piecewise linear correlation between temperatures and loads
GIS